## Sheet1
| Building | Elec kWH | Steam Mlb | Elect | Ngas | Steam |  | Oil 4 |  | Elec Use | NG Use | Steam Use | Oil2 Use | Oil4 Use | Diesel Use |  | SF | city | Heating | Cooling | DHW
1 | CitySpire | 3095792.4 | 33.604 | 10581418 | 56943.53 | 40123.13 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 370758 | New York | Steam | Elect | Steam
2 | CitySpire | 899368 | 0 | 3074040 | 12140.07 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 370758 | New York | Steam | Elect | Steam
3 | CitySpire | 612142.2 | 160.9602 | 2092302 | 12131.77 | 192186.43 | 0 | 0 | 0 | Electric Base Loads | Nat.Gas Base Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 370758 | New York | Steam | Elect | Steam
4 | CitySpire | 4175559 | 4219.6765 | 14272061 | 90387.77 | 5038293.7 | 0 | 0 | 0 | Heating Loads | Heating Loads | Heating Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 370758 | New York | Steam | Elect | Steam
|  | 8782861.6 | 4414.2406 | 30019821 | 171603.14 | 5270603.26
1 | 595 Market | 1762199.9 | 2338.1537 | 6023199 | 0 | 2791755.5 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 429572 | San Francisco | NGas | Elect | NGas
2 | 595 Market | 370647.2 | 343.6187 | 1266872 | 0 | 410280.7 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 429572 | San Francisco | NGas | Elect | NGas
3 | 595 Market | 332514.6 | 486.1747 | 1136535 | 0 | 580492.6 | 0 | 0 | 0 | Electric Base Loads | Nat.Gas Base Loads | Heating Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 429572 | San Francisco | NGas | Elect | NGas
4 | 595 Market | 1838185.8 | 3017.0984 | 6282919 | 0 | 3602415.5 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Heating Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 429572 | San Francisco | NGas | Elect | NGas
|  | 4303547.5 | 6185.0455 | 14709525 |  | 7384944.3
1 | 400 Castro | 968454.4 | 0 | 3310177 | 739395.4 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 138762 | San Francisco | NGas | Elect | NGas
2 | 400 Castro | 192654 | 0 | 658491.3 | 132822.8 | 0 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 138762 | San Francisco | NGas | Elect | NGas
3 | 400 Castro | 164810.2 | 0 | 563321.3 | 332216.8 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 138762 | San Francisco | NGas | Elect | NGas
4 | 400 Castro | 889049.5 | 0 | 3038771 | 1589957.3 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 138762 | San Francisco | NGas | Elect | NGas
|  | 2214968.1 |  |  | 2794392.3
1 | 520 Pike Tower | 1768929.7 | 0 | 6046202 | 0 | 0 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 425829 | Seattle | Elect | Elect | Elect
2 | 520 Pike Tower | 319107.3 | 0 | 1090709 | 0 | 0 | 0 | 0 | 0 | Electric Base Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 425829 | Seattle | Elect | Elect | Elect
3 | 520 Pike Tower | 2664373 | 0 | 9106827 | 0 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 425829 | Seattle | Elect | Elect | Elect
5 | One Bush | 1550920.9 | 1848.2876 | 5301048 | 0 | 2206855.4 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 451725 | San Francisco | NGas | Elect | NGas
6 | One Bush | 376666.6 | 325.6635 | 1287446 | 0 | 388842.2 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 451725 | San Francisco | NGas | Elect | NGas
7 | One Bush | 316295.1 | 348.1963 | 1081097 | 0 | 415746.4 | 0 | 0 | 0 | Electric Base Loads | Nat.Gas Base Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 451725 | San Francisco | NGas | Elect | NGas
8 | One Bush | 2341528.8 | 3439.4221 | 8003346 | 0 | 4106669.9 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Heating Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 451725 | San Francisco | NGas | Elect | NGas
|  | 9337821.4 | 5961.5695
1 | 175 Varick | 544745.93 | 0 | 1861941.6 | 232.6333 | 0 | 0 | 98939.33 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 176119 | New York | Oil4 | Elect | Oil4
2 | 175 Varick | 76868.86 | 0 | 262737.8 | 8.7667 | 0 | 0 | 0 | 0 | Electric Base Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 176119 | New York | Oil4 | Elect | Oil4
3 | 175 Varick | 602947.44 | 0 | 2060874.3 | 626.5 | 0 | 0 | 3297341.93 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 176119 | New York | Oil4 | Elect | Oil4
|  | 1224562.23 |  |  | 867.9 |  |  | 3396281.26 | kbtu
1 | 300 Park | 2872334.2 | 6506.3113 | 9817638 | 414508.47 | 7768535.7 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 777658 | New York | Steam | Elect | Steam
2 | 300 Park | 702304.8 | 1280.9599 | 2400478 | 92674.87 | 1529466.1 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 777658 | New York | Steam | Elect | Steam
3 | 300 Park | 595565.8 | 811.5143 | 2035644 | 121553.47 | 968948.1 | 0 | 0 | 0 | Electric Base Loads | Cooling Loads | Cooling Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 777658 | New York | Steam | Elect | Steam
4 | 300 Park | 3280863.8 | 8557.6917 | 11213993 | 672862.53 | 10217883.9 | 0 | 0 | 0 | Heating Loads | Heating Loads | Heating Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 777658 | New York | Steam | Elect | Steam
5 | 300 Park | 647462.5 | 750.3333 | 2213027 | 116918.53 | 895898 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 777658 | New York | Steam | Elect | Steam
|  | 8098531.1 | 17906.8105 |  | 1418517.87 | 21380731.8
1 | 333 Bush | 1666329.5 | 0 | 5695514 | 2617801.9 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 597694 | San Francisco | NGas | Elect | NGas
2 | 333 Bush | 337564.5 | 0 | 1153795 | 358338.8 | 0 | 0 | 0 | 0 | Cooling Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 597694 | San Francisco | NGas | Elect | NGas
3 | 333 Bush | 315684 | 0 | 1079008 | 865717.5 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 597694 | San Francisco | NGas | Elect | NGas
4 | 333 Bush | 1756333.4 | 0 | 6003148 | 3462192.4 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 597694 | San Francisco | NGas | Elect | NGas
|  | 17479.8105 | 17479.8105 | mlb
13983.8484
|  | 4884977.7616 |  |  |  | kBTU Steam to | kWH | divide kBTU by
[6 empty] | 10581418 | 3095792.4 | 3.418 |  |  |  | 1 | therm
|  | 1628325.9205 |  |  |  | Mlb Steam to | kbtu | multiply Mlb by |  |  |  | 100000 | btu
[6 empty] | 4414.2406 | 5270603.26 | 5270603.2645 |  |  |  | 100 | kbtu
[6 empty] | Mlb Steam to | kWH | multiply by |  |  |  | 0.1 | mmbtu
[6 empty] | 4414.2406 | 1542013.8281 | 349.3271
[6 empty] | kBTU Ngas to | KWH | multiply kBTU by |  |  |  | 1.32 | $/Therm
3.41
[12 empty] | 3412.14 | btu/kwh
[12 empty] | 29.3071 | kwh/Therm
[12 empty] | 0.04504 | $/kWh gas equalvant
[12 empty] | 0.25 | $/kWh
[12 empty] | 5.5506 | times more expensive gas than electric