## R
TSUS_EPA_DATA_SHORT_ALL
|  | building | y | m | diesel kbtu | steam kbtu | elect kbtu | oil 2 kbtu | oil 4 kbtu | gas kbtu
| 1 | 160 Spear | 2019 | 1 | NA | NA | 895640.6 | NA | NA | 546785.1
| 2 | 160 Spear | 2019 | 2 | NA | NA | 810208.9 | NA | NA | 497063.7
| 3 | 160 Spear | 2019 | 3 | NA | NA | 928996 | NA | NA | 473336
| 4 | 160 Spear | 2019 | 4 | NA | NA | 921176.1 | NA | NA | 316791
| 5 | 160 Spear | 2019 | 5 | NA | NA | 880787.6 | NA | NA | 217587.7
| 6 | 160 Spear | 2019 | 6 | NA | NA | 881612.2 | NA | NA | 187246.2
| 7 | 160 Spear | 2019 | 7 | NA | NA | 931933.1 | NA | NA | 130621.4
| 8 | 160 Spear | 2019 | 8 | NA | NA | 913467.1 | NA | NA | 70169.8
| 9 | 160 Spear | 2019 | 9 | NA | NA | 872429 | NA | NA | 204523.1
| 10 | 160 Spear | 2019 | 10 | NA | NA | 917243.4 | NA | NA | 69069.4
| 11 | 160 Spear | 2019 | 11 | NA | NA | 787087.5 | NA | NA | 101033.3
| 12 | 160 Spear | 2019 | 12 | NA | NA | 724237.9 | NA | NA | 142355.4 | 10464819.4 | 2956582.1
| 13 | 160 Spear | 2020 | 1 | NA | NA | 776855.3 | NA | NA | 234347.9
| 14 | 160 Spear | 2020 | 2 | NA | NA | 750996.3 | NA | NA | 136330
| 15 | 160 Spear | 2020 | 3 | NA | NA | 592565 | NA | NA | 84105.9
| 16 | 160 Spear | 2020 | 4 | NA | NA | 458387.3 | NA | NA | 56844.1
| 17 | 160 Spear | 2020 | 5 | NA | NA | 464998.3 | NA | NA | 41388.5
| 18 | 160 Spear | 2020 | 6 | NA | NA | 466122.3 | NA | NA | 37157.3
| 19 | 160 Spear | 2020 | 7 | NA | NA | 471302.3 | NA | NA | 37566.8
| 20 | 160 Spear | 2020 | 8 | NA | NA | 472333 | NA | NA | 34420.7
| 21 | 160 Spear | 2020 | 9 | NA | NA | 471312.6 | NA | NA | 9462.5
| 22 | 160 Spear | 2020 | 10 | NA | NA | 497763.4 | NA | NA | 1037.5
| 23 | 160 Spear | 2020 | 11 | NA | NA | 440876.4 | NA | NA | 84060
| 24 | 160 Spear | 2020 | 12 | NA | NA | 443951.7 | NA | NA | 94565 | 6307463.9 | 851286.2
| 25 | 160 Spear | 2021 | 1 | NA | NA | 451839.6 | NA | NA | 108723.3
| 26 | 160 Spear | 2021 | 2 | NA | NA | 404817.6 | NA | NA | 114145.7
| 27 | 160 Spear | 2021 | 3 | NA | NA | 449506.6 | NA | NA | 141192.3
| 28 | 160 Spear | 2021 | 4 | NA | NA | 434359.9 | NA | NA | 133497.1
| 29 | 160 Spear | 2021 | 5 | NA | NA | 834500.7 | NA | NA | 46147.9
| 30 | 160 Spear | 2021 | 6 | NA | NA | 544935.4 | NA | NA | 26175.6
| 31 | 160 Spear | 2021 | 7 | NA | NA | 482153.5 | NA | NA | 6222.1
| 32 | 160 Spear | 2021 | 8 | NA | NA | 534741.1 | NA | NA | 371
| 33 | 160 Spear | 2021 | 9 | NA | NA | 995685.4 | NA | NA | 7531
| 34 | 160 Spear | 2021 | 10 | NA | NA | 678284.6 | NA | NA | 8293.1
| 35 | 160 Spear | 2021 | 11 | NA | NA | 532156.9 | NA | NA | 10141.5
| 36 | 160 Spear | 2021 | 12 | NA | NA | 558101.1 | NA | NA | 231879.2 | 6901082.4 | 834319.8
[10 empty] | 3 year ave: | 7891121.9 | 1547396.0333
TSUS_EPA_DATA_SHORT_ALL (at line 64)
|  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu
| 1 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0
| 2 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0
| 3 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0
| 4 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0
| 5 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0
| 6 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0
| 7 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0
| 8 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0
| 9 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0
| 10 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0
| 11 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0
| 12 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0
|  |  |  | 7891121.89 | 1547396.08
TSUS_EPA_DATA_SHORT_ALL (at line 67)
|  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu
| 217 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0 | 1004730.6 | 1004730.63 | 0.03
| 218 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0 | 904520.73 | 904520.73 | 0
| 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 889900.63 | 0.03
| 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 773685.2 | 0.03
| 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 828470.2 | -0.03
| 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 714416.34 | 0.01
| 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 686599.74 | 0.01
| 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 675167.57 | 0
| 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 853647.87 | 0
| 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 723897.13 | 0
| 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | 0
| 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 731696.73 | -0.04
|  |  |  | 7891121.89 | 1547396.08
TSUS_EPA_DATA_SHORT_ALL (at line 72)
|  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu | base
| 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2
| 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 651785.2
| 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 651785.2
| 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 651785.2
| 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 651785.2
| 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 651785.2
| 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 651785.2
| 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 651785.2
| 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2
| 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 651785.2
1001597.48
TSUS_EPA_DATA_SHORT_ALL (at line 85)
|  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu | base | use
| 217 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0 | 1004730.6 | 651785.2 | Heating Loads
| 218 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0 | 904520.73 | 651785.2 | Heating Loads
| 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2 | Heating Loads
| 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 651785.2 | Cooling Loads
| 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 651785.2 | Cooling Loads
| 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 651785.2 | Cooling Loads
| 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 651785.2 | Cooling Loads
| 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 651785.2 | Cooling Loads
| 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 651785.2 | Cooling Loads
| 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 651785.2 | Heating Loads
| 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | Base Loads
| 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 651785.2 | Heating Loads
|  |  |  | 7891121.89 | 1547396.08 |  |  |  |  | 9438517.93 | 7821422.4
TSUS_EPA_DATA_SHORT_ALL (at line 94)
| 217 | 160 Spear | 1 | 708111.8 | 296618.77 | 0 | 0 | 0 | 0 | 1004730.6 | 651785.2 | Heating Loads
| 218 | 160 Spear | 2 | 655340.9 | 249179.8 | 0 | 0 | 0 | 0 | 904520.7 | 651785.2 | Heating Loads
| 219 | 160 Spear | 3 | 657022.5 | 232878.07 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2 | Heating Loads
| 220 | 160 Spear | 4 | 604641.1 | 169044.07 | 0 | 0 | 0 | 0 | 773685.2 | 651785.2 | Cooling Loads
| 221 | 160 Spear | 5 | 726762.2 | 101708.03 | 0 | 0 | 0 | 0 | 828470.2 | 651785.2 | Cooling Loads
| 222 | 160 Spear | 6 | 630890 | 83526.37 | 0 | 0 | 0 | 0 | 714416.3 | 651785.2 | Cooling Loads
| 223 | 160 Spear | 7 | 628463 | 58136.77 | 0 | 0 | 0 | 0 | 686599.7 | 651785.2 | Cooling Loads
| 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.6 | 651785.2 | Cooling Loads
| 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.9 | 651785.2 | Cooling Loads
| 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.1 | 651785.2 | Heating Loads
| 227 | 160 Spear | 11 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | Base Loads
| 228 | 160 Spear | 12 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | 731696.8 | 651785.2 | Heating Loads
|  |  |  | 7891121.8 | 1547396.05 |  |  |  |  | 9438517.9 | 7821422.4
Need to get to this configuration after seperating into base cooling and heating end useses.
|  | Building | use | Elect_kWh | Steam | Elect | Ngas | Steam | Oil2 | Oil4 | Diesel | Total
| 1 | 160 Spear | Base Loads | 171652.1 | 0 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2
| 2 | 160 Spear | Cooling Loads | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | 4531986.9
| 3 | 160 Spear | Heating Loads | 963624.7 | 0 | 3293669.3 | 961076.5 | 0 | 0 | 0 | 0 | 4254745.8
|  |  |  | 2308695.7 |  | 7891121.8 | 1547396.04 |  |  |  |  | 9438517.9
[5 empty] | Base | 586706.9 |  | 7040482.8
[5 empty] | Cooling | 6453775.9 |  | 467073.2253
0.54909
3543672.3747
[5 empty] | Heating | 0.45091 |  | 383565.7747
2910103.5253
[6 empty] | 7040482.8 |  | 7891121.8
7040482.8
171652.12
586706.9
3.418
UP TO LINE 72
| 1 | 160 Spear | 1 | 708111.8 | 296618.77 | 0 | 0 | 0 | 0 | 1004730.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 2 | 160 Spear | 2 | 655340.9 | 249179.8 | 0 | 0 | 0 | 0 | 904520.7 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 3 | 160 Spear | 3 | 657022.5 | 232878.07 | 0 | 0 | 0 | 0 | 889900.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 4 | 160 Spear | 4 | 604641.1 | 169044.07 | 0 | 0 | 0 | 0 | 773685.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 5 | 160 Spear | 5 | 726762.2 | 101708.03 | 0 | 0 | 0 | 0 | 828470.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 6 | 160 Spear | 6 | 630890 | 83526.37 | 0 | 0 | 0 | 0 | 714416.3 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 7 | 160 Spear | 7 | 628463 | 58136.77 | 0 | 0 | 0 | 0 | 686599.7 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 8 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 9 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.9 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 10 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.1 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 11 | 160 Spear | 11 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 12 | 160 Spear | 12 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | 731696.8 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  |  | 7891121.8 | 1547396.05 |  |  |  |  | 9438517.9 | 6905162.4 | 313599.96
UP TO 123
| 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
| 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 2308695.8 |  | 7891121.8 | 1547396.03
|  |  |  | 3.418 | 7891121.8
[5 empty] | 0 | -0.02
UP TO 142
| 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
| 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
| 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
| 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
| UP TO 162 | Building | Elect_kWh | Steam_Mlb | Elect | Ngas | Steam | Oil2 | Oil4 | Diesel | Elect_use | Steam_use | Oil2_use
| 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
| 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
| 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
| 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
|  |  | 2308695.8 |  | 7891121.8 | 1547396.03
UP TO 180
Need to get interventions into different sheets in the main inervention excel file.
UP TO 202
| EUA_Elect table |  |  | So this elect is BTU's I will add unit to the column name.
| Building | Elect | Elect Use
55 | 160 Spear | 4010745.6 | Cooling Loads
56 | 160 Spear | 575430.2 | Electric Base Loads
57 | 160 Spear | 2607182.2 | Heating Loads
58 | 160 Spear | 697763.8 | Heating Loads
7891121.8
UP TO 230
EUA_Ngas
1 | 160 Spear | Cooling Loads | 521241.27
2 | 160 Spear | Heating Loads | 1000021.43
3 | 160 Spear | Nat.Gas Base Loads | 26133.33
1547396.03

## EPA_PM
Energy Use By Calendar Month (Not Weather Normalized)
Property: 160 Spear Street (ID 1300032)
08/12/2023 10:05 AM EDT
Month | Electric - Grid (kBtu) | Natural Gas (kBtu)
May-18 | 855321.1 | 329554.9
Jun-18 | 835955.7 | 328978.2
Jul-18 | 912448.2 | 69270.8
Aug-18 | 926948.7 | 214232.2
Sep-18 | 902100.9 | 234298.8
Oct-18 | 1016027.2 | 215427
Nov-18 | 890782.9 | 286371
Dec-18 | 855815.1 | 311303.5
Jan-19 | 895640.6 | 546785.1
Feb-19 | 810208.9 | 497063.7
Mar-19 | 928996 | 473336
Apr-19 | 921176.1 | 316791
May-19 | 880787.6 | 217587.7
Jun-19 | 881612.2 | 187246.2
Jul-19 | 931933.1 | 130621.4
Aug-19 | 913467.1 | 70169.8
Sep-19 | 872429 | 204523.1
Oct-19 | 917243.4 | 69069.4
Nov-19 | 787087.5 | 101033.3
Dec-19 | 724237.9 | 142355.4 | 10464819.4 | 2956582.1
Jan-20 | 776855.3 | 234347.9
Feb-20 | 750996.3 | 136330
Mar-20 | 592565 | 84105.9
Apr-20 | 458387.3 | 56844.1
May-20 | 464998.3 | 41388.5
Jun-20 | 466122.3 | 37157.3
Jul-20 | 471302.3 | 37566.8
Aug-20 | 472333 | 34420.7
Sep-20 | 471312.6 | 9462.5
Oct-20 | 497763.4 | 1037.5
Nov-20 | 440876.4 | 84060
Dec-20 | 443951.7 | 94565 | 6307463.9 | 851286.2
Jan-21 | 451839.6 | 108723.3
Feb-21 | 404817.6 | 114145.7
Mar-21 | 449506.6 | 141192.3
Apr-21 | 434359.9 | 133497.1
May-21 | 834500.7 | 46147.9
Jun-21 | 544935.4 | 26175.6
Jul-21 | 482153.5 | 6222.1
Aug-21 | 534741.1 | 371
Sep-21 | 995685.4 | 7531
Oct-21 | 678284.6 | 8293.1
Nov-21 | 532156.9 | 10141.5
Dec-21 | 558101.1 | 231879.2 | 6901082.4 | 834319.8
Jan-22 | 581564.7 | 126421.8
Feb-22 | 542528.8 | 298089.5
Mar-22 | 630899.8 | 191712.7
Apr-22 | 651339.9 | 176191
May-22 | 1278110.9 | 122674.4
Jun-22 | 798275.8 | 70599
Jul-22 | 695608.6 | 66973.3
Aug-22 | 736241.3 | 57715.2
Sep-22 | 1336296.4 | 45198.8
Oct-22 | 792168 | 118806.9
Nov-22 | 588228.2 | 235342.1
Dec-22 | 595611.1 | 357820
Jan-23 | 598493.8 | 379797.1
Feb-23 | 539035.4 | 347400.8
Mar-23 | 610055 | 379081.5
Apr-23 | 575722.4 | 252369.7