## R
TSUS_EPA_DATA_SHORT_ALL
|  |  |  | building | y | m | diesel kbtu | steam kbtu | elect kbtu | oil 2 kbtu | oil 4 kbtu | gas kbtu
|  |  | 1 | 160 Spear | 2019 | 1 | NA | NA | 895640.6 | NA | NA | 546785.1
|  |  | 2 | 160 Spear | 2019 | 2 | NA | NA | 810208.9 | NA | NA | 497063.7
|  |  | 3 | 160 Spear | 2019 | 3 | NA | NA | 928996 | NA | NA | 473336
|  |  | 4 | 160 Spear | 2019 | 4 | NA | NA | 921176.1 | NA | NA | 316791
|  |  | 5 | 160 Spear | 2019 | 5 | NA | NA | 880787.6 | NA | NA | 217587.7
|  |  | 6 | 160 Spear | 2019 | 6 | NA | NA | 881612.2 | NA | NA | 187246.2
|  |  | 7 | 160 Spear | 2019 | 7 | NA | NA | 931933.1 | NA | NA | 130621.4
|  |  | 8 | 160 Spear | 2019 | 8 | NA | NA | 913467.1 | NA | NA | 70169.8
|  |  | 9 | 160 Spear | 2019 | 9 | NA | NA | 872429 | NA | NA | 204523.1
|  |  | 10 | 160 Spear | 2019 | 10 | NA | NA | 917243.4 | NA | NA | 69069.4
|  |  | 11 | 160 Spear | 2019 | 11 | NA | NA | 787087.5 | NA | NA | 101033.3
|  |  | 12 | 160 Spear | 2019 | 12 | NA | NA | 724237.9 | NA | NA | 142355.4 | 10464819.4 | 2956582.1
|  |  | 13 | 160 Spear | 2020 | 1 | NA | NA | 776855.3 | NA | NA | 234347.9
|  |  | 14 | 160 Spear | 2020 | 2 | NA | NA | 750996.3 | NA | NA | 136330
|  |  | 15 | 160 Spear | 2020 | 3 | NA | NA | 592565 | NA | NA | 84105.9
|  |  | 16 | 160 Spear | 2020 | 4 | NA | NA | 458387.3 | NA | NA | 56844.1
|  |  | 17 | 160 Spear | 2020 | 5 | NA | NA | 464998.3 | NA | NA | 41388.5
|  |  | 18 | 160 Spear | 2020 | 6 | NA | NA | 466122.3 | NA | NA | 37157.3
|  |  | 19 | 160 Spear | 2020 | 7 | NA | NA | 471302.3 | NA | NA | 37566.8
|  |  | 20 | 160 Spear | 2020 | 8 | NA | NA | 472333 | NA | NA | 34420.7
|  |  | 21 | 160 Spear | 2020 | 9 | NA | NA | 471312.6 | NA | NA | 9462.5
|  |  | 22 | 160 Spear | 2020 | 10 | NA | NA | 497763.4 | NA | NA | 1037.5
|  |  | 23 | 160 Spear | 2020 | 11 | NA | NA | 440876.4 | NA | NA | 84060
|  |  | 24 | 160 Spear | 2020 | 12 | NA | NA | 443951.7 | NA | NA | 94565 | 6307463.9 | 851286.2
|  |  | 25 | 160 Spear | 2021 | 1 | NA | NA | 451839.6 | NA | NA | 108723.3
|  |  | 26 | 160 Spear | 2021 | 2 | NA | NA | 404817.6 | NA | NA | 114145.7
|  |  | 27 | 160 Spear | 2021 | 3 | NA | NA | 449506.6 | NA | NA | 141192.3
|  |  | 28 | 160 Spear | 2021 | 4 | NA | NA | 434359.9 | NA | NA | 133497.1
|  |  | 29 | 160 Spear | 2021 | 5 | NA | NA | 834500.7 | NA | NA | 46147.9
|  |  | 30 | 160 Spear | 2021 | 6 | NA | NA | 544935.4 | NA | NA | 26175.6
|  |  | 31 | 160 Spear | 2021 | 7 | NA | NA | 482153.5 | NA | NA | 6222.1
|  |  | 32 | 160 Spear | 2021 | 8 | NA | NA | 534741.1 | NA | NA | 371
|  |  | 33 | 160 Spear | 2021 | 9 | NA | NA | 995685.4 | NA | NA | 7531
|  |  | 34 | 160 Spear | 2021 | 10 | NA | NA | 678284.6 | NA | NA | 8293.1
|  |  | 35 | 160 Spear | 2021 | 11 | NA | NA | 532156.9 | NA | NA | 10141.5
|  |  | 36 | 160 Spear | 2021 | 12 | NA | NA | 558101.1 | NA | NA | 231879.2 | 6901082.4 | 834319.8
[12 empty] | 3 year ave: | 7891121.9 | 1547396.0333
TSUS_EPA_DATA_SHORT_ALL (at line 64)
|  |  |  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu
|  |  | 1 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0
|  |  | 2 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0
|  |  | 3 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0
|  |  | 4 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0
|  |  | 5 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0
|  |  | 6 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0
|  |  | 7 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0
|  |  | 8 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0
|  |  | 9 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0
|  |  | 10 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0
|  |  | 11 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0
|  |  | 12 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0
[6 empty] | 7891121.89 | 1547396.08
TSUS_EPA_DATA_SHORT_ALL (at line 67)
|  |  |  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu
|  |  | 217 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0 | 1004730.6 | 1004730.63 | 0.03
|  |  | 218 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0 | 904520.73 | 904520.73 | 0
|  |  | 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 889900.63 | 0.03
|  |  | 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 773685.2 | 0.03
|  |  | 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 828470.2 | -0.03
|  |  | 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 714416.34 | 0.01
|  |  | 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 686599.74 | 0.01
|  |  | 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 675167.57 | 0
|  |  | 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 853647.87 | 0
|  |  | 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 723897.13 | 0
|  |  | 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | 0
|  |  | 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 731696.73 | -0.04
[6 empty] | 7891121.89 | 1547396.08
TSUS_EPA_DATA_SHORT_ALL (at line 72)
|  |  |  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu | base
|  |  | 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2
|  |  | 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 651785.2
|  |  | 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 651785.2
|  |  | 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 651785.2
|  |  | 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 651785.2
|  |  | 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 651785.2
|  |  | 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 651785.2
|  |  | 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 651785.2
|  |  | 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2
|  |  | 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 651785.2
1001597.48
TSUS_EPA_DATA_SHORT_ALL (at line 85)
|  |  |  | building | M | Elect kBTU | Ngas KBTU | steam kbtu | oil btu | oil4 btu | diesel btu | total btu | base | use
|  |  | 217 | 160 Spear | 1 | 708111.83 | 296618.8 | 0 | 0 | 0 | 0 | 1004730.6 | 651785.2 | Heating Loads
|  |  | 218 | 160 Spear | 2 | 655340.93 | 249179.8 | 0 | 0 | 0 | 0 | 904520.73 | 651785.2 | Heating Loads
|  |  | 219 | 160 Spear | 3 | 657022.53 | 232878.1 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2 | Heating Loads
|  |  | 220 | 160 Spear | 4 | 604641.1 | 169044.1 | 0 | 0 | 0 | 0 | 773685.17 | 651785.2 | Cooling Loads
|  |  | 221 | 160 Spear | 5 | 726762.2 | 101708 | 0 | 0 | 0 | 0 | 828470.23 | 651785.2 | Cooling Loads
|  |  | 222 | 160 Spear | 6 | 630889.97 | 83526.37 | 0 | 0 | 0 | 0 | 714416.33 | 651785.2 | Cooling Loads
|  |  | 223 | 160 Spear | 7 | 628462.97 | 58136.77 | 0 | 0 | 0 | 0 | 686599.73 | 651785.2 | Cooling Loads
|  |  | 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.57 | 651785.2 | Cooling Loads
|  |  | 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.87 | 651785.2 | Cooling Loads
|  |  | 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.13 | 651785.2 | Heating Loads
|  |  | 227 | 160 Spear | 11 | 586706.93 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | Base Loads
|  |  | 228 | 160 Spear | 12 | 575430.23 | 156266.5 | 0 | 0 | 0 | 0 | 731696.77 | 651785.2 | Heating Loads
[6 empty] | 7891121.89 | 1547396.08 |  |  |  |  | 9438517.93 | 7821422.4
TSUS_EPA_DATA_SHORT_ALL (at line 94)
|  |  | 217 | 160 Spear | 1 | 708111.8 | 296618.77 | 0 | 0 | 0 | 0 | 1004730.6 | 651785.2 | Heating Loads
|  |  | 218 | 160 Spear | 2 | 655340.9 | 249179.8 | 0 | 0 | 0 | 0 | 904520.7 | 651785.2 | Heating Loads
|  |  | 219 | 160 Spear | 3 | 657022.5 | 232878.07 | 0 | 0 | 0 | 0 | 889900.6 | 651785.2 | Heating Loads
|  |  | 220 | 160 Spear | 4 | 604641.1 | 169044.07 | 0 | 0 | 0 | 0 | 773685.2 | 651785.2 | Cooling Loads
|  |  | 221 | 160 Spear | 5 | 726762.2 | 101708.03 | 0 | 0 | 0 | 0 | 828470.2 | 651785.2 | Cooling Loads
|  |  | 222 | 160 Spear | 6 | 630890 | 83526.37 | 0 | 0 | 0 | 0 | 714416.3 | 651785.2 | Cooling Loads
|  |  | 223 | 160 Spear | 7 | 628463 | 58136.77 | 0 | 0 | 0 | 0 | 686599.7 | 651785.2 | Cooling Loads
|  |  | 224 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.6 | 651785.2 | Cooling Loads
|  |  | 225 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.9 | 651785.2 | Cooling Loads
|  |  | 226 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.1 | 651785.2 | Heating Loads
|  |  | 227 | 160 Spear | 11 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 651785.2 | Base Loads
|  |  | 228 | 160 Spear | 12 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | 731696.8 | 651785.2 | Heating Loads
[6 empty] | 7891121.8 | 1547396.05 |  |  |  |  | 9438517.9 | 7821422.4
Need to get to this configuration after seperating into base cooling and heating end useses.
|  |  |  | Building | use | Elect_kWh | Steam | Elect | Ngas | Steam | Oil2 | Oil4 | Diesel | Total
|  |  | 1 | 160 Spear | Base Loads | 171652.1 | 0 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2
|  |  | 2 | 160 Spear | Cooling Loads | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | 4531986.9
|  |  | 3 | 160 Spear | Heating Loads | 963624.7 | 0 | 3293669.3 | 961076.5 | 0 | 0 | 0 | 0 | 4254745.8
[6 empty] | 2308695.7 |  | 7891121.8 | 1547396.04 |  |  |  |  | 9438517.9
[7 empty] | Base | 586706.9 |  | 7040482.8
[7 empty] | Cooling | 6453775.9 |  | 467073.2253
0.54909
3543672.3747
[7 empty] | Heating | 0.45091 |  | 383565.7747
2910103.5253
[8 empty] | 7040482.8 |  | 7891121.8
7040482.8
171652.12
586706.9
3.418
UP TO LINE 72
|  |  | 1 | 160 Spear | 1 | 708111.8 | 296618.77 | 0 | 0 | 0 | 0 | 1004730.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 2 | 160 Spear | 2 | 655340.9 | 249179.8 | 0 | 0 | 0 | 0 | 904520.7 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 3 | 160 Spear | 3 | 657022.5 | 232878.07 | 0 | 0 | 0 | 0 | 889900.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 4 | 160 Spear | 4 | 604641.1 | 169044.07 | 0 | 0 | 0 | 0 | 773685.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 5 | 160 Spear | 5 | 726762.2 | 101708.03 | 0 | 0 | 0 | 0 | 828470.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 6 | 160 Spear | 6 | 630890 | 83526.37 | 0 | 0 | 0 | 0 | 714416.3 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 7 | 160 Spear | 7 | 628463 | 58136.77 | 0 | 0 | 0 | 0 | 686599.7 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 8 | 160 Spear | 8 | 640180.4 | 34987.17 | 0 | 0 | 0 | 0 | 675167.6 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 9 | 160 Spear | 9 | 779809 | 73838.87 | 0 | 0 | 0 | 0 | 853647.9 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 10 | 160 Spear | 10 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | 723897.1 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 11 | 160 Spear | 11 | 586706.9 | 65078.27 | 0 | 0 | 0 | 0 | 651785.2 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 12 | 160 Spear | 12 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | 731696.8 | 575430.2 | 26133.33 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
[6 empty] | 7891121.8 | 1547396.05 |  |  |  |  | 9438517.9 | 6905162.4 | 313599.96
UP TO 123
|  |  | 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
|  |  | 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads
[5 empty] | 2308695.8 |  | 7891121.8 | 1547396.03
[6 empty] | 3.418 | 7891121.8
[7 empty] | 0 | -0.02
UP TO 142
|  |  | 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
|  |  | 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
|  |  | 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
|  |  | 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas | NA
|  |  | UP TO 162 | Building | Elect_kWh | Steam_Mlb | Elect | Ngas | Steam | Oil2 | Oil4 | Diesel | Elect_use | Steam_use | Oil2_use
|  |  | 1 | 160 Spear | 1173418.9 | 0 | 4010745.6 | 521241.27 | 0 | 0 | 0 | 0 | Cooling Loads | Cooling Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
|  |  | 2 | 160 Spear | 168352.9 | 0 | 575430.2 | 156266.53 | 0 | 0 | 0 | 0 | Electric Base Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
|  |  | 3 | 160 Spear | 762780.1 | 0 | 2607182.2 | 843754.9 | 0 | 0 | 0 | 0 | Heating Loads | Heating Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
|  |  | 4 | 160 Spear | 204143.9 | 0 | 697763.8 | 26133.33 | 0 | 0 | 0 | 0 | Heating Loads | Nat.Gas Base Loads | Steam Base Loads | Oil 2 Base Loads | Oil 2 Base Loads | Diesel Base Loads | office | 303429 | San Francisco | NGas | Elect | NGas
[5 empty] | 2308695.8 |  | 7891121.8 | 1547396.03
UP TO 180
Need to get interventions into different sheets in the main inervention excel file.
UP TO 202
|  |  | EUA_Elect table |  |  | So this elect is BTU's I will add unit to the column name.
|  |  | Building | Elect | Elect Use
|  | 55 | 160 Spear | 4010745.6 | Cooling Loads
|  | 56 | 160 Spear | 575430.2 | Electric Base Loads
|  | 57 | 160 Spear | 2607182.2 | Heating Loads
|  | 58 | 160 Spear | 697763.8 | Heating Loads
7891121.8
UP TO 230
EUA_Ngas
|  | 1 | 160 Spear | Cooling Loads | 521241.27
|  | 2 | 160 Spear | Heating Loads | 1000021.43
|  | 3 | 160 Spear | Nat.Gas Base Loads | 26133.33
1547396.03
|  |  |  | 3304946 | heating 2 lines above added together.
Tabled formed after line 510
Savings Measures
| Building | sqft | load | base loads | cooling loads | heating loads | intervention name | savings | orider | description of measure | change in Elect | Change in Ngas | Change in Steam | saved base | saved cooling | saved heating
1 | 160 Spear | 303429 | NGas | 26133.33 | 521241.3 | 1000021.4 | Retrocommissioning (RCx) | Heating & Cooling & Base | 1 | Complete BMS commissioning | 0.04 | 0.04 | - | 1045.333 | 20849.651 | 40000.86
2 | 160 Spear | 303429 | NGas | 25088 | 500391.6 | 960020.6 | Façade air stopping | Heating & Cooling | 3 | caulking and general air stopping | 0.02 | 0.02 | - | 0 | 10007.832 | 19200.41
3 | 160 Spear | 303429 | NGas | 25088 | 490383.8 | 940820.2 | New High Efficiency Windows | Heating & Cooling | 4 | New Windows tripple pane R6@30SHG | 0.05 | 0.05 | - | 0 | 24519.189 | 47041.01
4 | 160 Spear | 303429 | NGas | 25088 | 465864.6 | 893779.2 | New Electric Chillers | Cooling | 5 | Chiller Plant | 0.1 | 0 | - | 0 | 0 | 0
5 | 160 Spear | 303429 | NGas | 25088 | 465864.6 | 893779.2 | Pneumatic Converstion | Heating & Cooling | 6 | BMS Expansion | 0.02 | 0.02 | - | 0 | 9317.292 | 17875.58
6 | 160 Spear | 303429 | NGas | 25088 | 456547.3 | 875903.6 | Elevator energy revovery | Base | 7 | Optional add to elevator package | 0.01 | 0 | - | 0 | 0 | 0
7 | 160 Spear | 303429 | Elect | 575430.23 | 4010745.6 | 3304946 | Retrocommissioning (RCx) | Heating & Cooling & Base | 1 | Complete BMS commissioning | 0.04 | 0.04 | - | 23017.209 | 160429.825 | 132197.84
8 | 160 Spear | 303429 | Elect | 552413.02 | 3850315.8 | 3172748.2 | Façade air stopping | Heating & Cooling | 3 | caulking and general air stopping | 0.02 | 0.02 | - | 0 | 77006.316 | 63454.96
9 | 160 Spear | 303429 | Elect | 552413.02 | 3773309.5 | 3109293.2 | New High Efficiency Windows | Heating & Cooling | 4 | New Windows tripple pane R6@30SHG | 0.05 | 0.05 | - | 0 | 188665.475 | 155464.66
10 | 160 Spear | 303429 | Elect | 552413.02 | 3584644 | 2953828.6 | New Electric Chillers | Cooling | 5 | Chiller Plant | 0.1 | 0 | - | 0 | 358464.402 | 0
11 | 160 Spear | 303429 | Elect | 552413.02 | 3226179.6 | 2953828.6 | Pneumatic Converstion | Heating & Cooling | 6 | BMS Expansion | 0.02 | 0.02 | - | 0 | 64523.592 | 59076.57
12 | 160 Spear | 303429 | Elect | 552413.02 | 3161656 | 2894752 | Elevator energy revovery | Base | 7 | Optional add to elevator package | 0.01 | 0 | - | 5524.13 | 0 | 0

## EPA_PM
Energy Use By Calendar Month (Not Weather Normalized)
Property: 160 Spear Street (ID 1300032)
08/12/2023 10:05 AM EDT
Month | Electric - Grid (kBtu) | Natural Gas (kBtu)
May-18 | 855321.1 | 329554.9
Jun-18 | 835955.7 | 328978.2
Jul-18 | 912448.2 | 69270.8
Aug-18 | 926948.7 | 214232.2
Sep-18 | 902100.9 | 234298.8
Oct-18 | 1016027.2 | 215427
Nov-18 | 890782.9 | 286371
Dec-18 | 855815.1 | 311303.5
Jan-19 | 895640.6 | 546785.1
Feb-19 | 810208.9 | 497063.7
Mar-19 | 928996 | 473336
Apr-19 | 921176.1 | 316791
May-19 | 880787.6 | 217587.7
Jun-19 | 881612.2 | 187246.2
Jul-19 | 931933.1 | 130621.4
Aug-19 | 913467.1 | 70169.8
Sep-19 | 872429 | 204523.1
Oct-19 | 917243.4 | 69069.4
Nov-19 | 787087.5 | 101033.3
Dec-19 | 724237.9 | 142355.4 | 10464819.4 | 2956582.1
Jan-20 | 776855.3 | 234347.9
Feb-20 | 750996.3 | 136330
Mar-20 | 592565 | 84105.9
Apr-20 | 458387.3 | 56844.1
May-20 | 464998.3 | 41388.5
Jun-20 | 466122.3 | 37157.3
Jul-20 | 471302.3 | 37566.8
Aug-20 | 472333 | 34420.7
Sep-20 | 471312.6 | 9462.5
Oct-20 | 497763.4 | 1037.5
Nov-20 | 440876.4 | 84060
Dec-20 | 443951.7 | 94565 | 6307463.9 | 851286.2
Jan-21 | 451839.6 | 108723.3
Feb-21 | 404817.6 | 114145.7
Mar-21 | 449506.6 | 141192.3
Apr-21 | 434359.9 | 133497.1
May-21 | 834500.7 | 46147.9
Jun-21 | 544935.4 | 26175.6
Jul-21 | 482153.5 | 6222.1
Aug-21 | 534741.1 | 371
Sep-21 | 995685.4 | 7531
Oct-21 | 678284.6 | 8293.1
Nov-21 | 532156.9 | 10141.5
Dec-21 | 558101.1 | 231879.2 | 6901082.4 | 834319.8
Jan-22 | 581564.7 | 126421.8
Feb-22 | 542528.8 | 298089.5
Mar-22 | 630899.8 | 191712.7
Apr-22 | 651339.9 | 176191
May-22 | 1278110.9 | 122674.4
Jun-22 | 798275.8 | 70599
Jul-22 | 695608.6 | 66973.3
Aug-22 | 736241.3 | 57715.2
Sep-22 | 1336296.4 | 45198.8
Oct-22 | 792168 | 118806.9
Nov-22 | 588228.2 | 235342.1
Dec-22 | 595611.1 | 357820
Jan-23 | 598493.8 | 379797.1
Feb-23 | 539035.4 | 347400.8
Mar-23 | 610055 | 379081.5
Apr-23 | 575722.4 | 252369.7